## Slide 1
Kentaro Miuchi
Possible Cygnus Sites: Kamioka, Japan

## Slide 2
Kamioka site
Kentaro Miuchi
Lab-B (current NEWAGE site ~5*10m) can be used for 1m^3 detector.
Infrastructure is OK, oversea researchers are welcome.
Larger hall, potentially yes. Depends on how things will go.

## Slide 3
Possible funding sources and deadlines in different countries Japan/NEWAGE status

## Slide 4
Japanese Funding Situation
Kentaro Miuchi
Fiscal Year : Apr – next Mar. (Application October -> result Apr 1st).
FUNDED
  NEWAGE + Emulsion funding: FY 2014-1018 total $0.6M -> low BG uPIC ongoing
  NEWAGE + CYGNUS funding: FY 2016-2019 total $0.35M -> CYGNUE/NEWAGE “observatory” -> CYGNUS R&D detector for readout technology study and demonstration for directionality.

## Slide 5
CYGNUS/NEWAGE “observatory”, or test bench
SF6
DRIFT Plane
1.8m
0.5m
1.8m
detector modules
（50×50cm2）
HV
X-ray tube
SPECS
  Vessel material: steel (baseline) or plastic (as a future R&D)
  Vessel shape: cube (baseline) or cylinder (cheaper option )
  50cm polyethylene shield
  Equipped with 18 modules
0.5m

## Slide 6
SF6
DRIFT Plane
1.8m
0.5m
1.8m
detector module
（50×50cm2）
Schedule
  2016-2017 construction
  2018-2019 commissioning: 14×GEM modules + 4×uPIC modules -> confirm low BG environment
  2020- open to other readouts: pixel chips, optical…. (Radon emanation screening prior to the installation)
0.5m

## Slide 7
SF6
DRIFT Plane
1.8m
0.5m
1.8m
Design discussion
  Drift field for hybrid-system
  gain voltage would vary among detectors
0.5m
-HV -30kV (minimum) -50kV (typical)
GND
GND
Detection area
+HV
possible readout scheme
top of amplifier GND
3-GEMs
PAD
3-GEMs
pixel chip
resistive foil
+ polyimide

## Slide 9
AC-coupled readout

## Slide 10
plans(unit: mm)
VESSEL

## Slide 11
endcap plate （inside）

## Slide 12
endcap（outside）

## Slide 13
module base

## Slide 14
TPC